## Slide 1: Los Olivos Community Services District
Tom Fayram, President
Guy Savage, General Manager
October 5, 2023

## Slide 2: THE DISTRICT
376 Parcels
~40 Commercial ~336 Residential
Annual Budget
(FY 2023-24) $227,650

## Slide 3: Los Olivos Special Problems Area
1974 –
Special Problems Area designation
2018 – LOCSD formed
Today
2003 – County Septic to Sewer Study
2010 – Los Olivos WWMP
2016 – Prelim Eng. Report ($20.9M)
2013 – Draft Eng. Report ($11.2M)
2021 - 30% Design Gravity / MBR $47.8M
2022 – 2 Monitoring Wells
Notes: Lots of technical studies and documents produced to further options and approaches 30% design
Monitoring plan
Basis of Design
Rubric

## Slide 4: Community Input for Successful Prop 218
Focus on (prioritized order):
  Cost (Construction and O&M)
  Ownership (District / Individual)
  Plant Location (Siting)
  No Growth Inducement
  Odors
  Viewshed Impacts
Underlying assumption that solution meets regulatory requirements and fixes groundwater issues

## Slide 5: 30% Design Documents Gravity fed collection + MBR treatment Option
 | North Option | South Option
Zone 1 | $30,300,000 | $28,700,000
Zone 2 | $ 1,700,000 | $ 1,700,000
Zone 3 | $15,800,000 | $15,800,000
Total | $47,800,000 | $46,200,000
*Does not include laterals from homes, septic system removal
$125,000 per parcel, PLUS: laterals, removal of existing septic system, effluent disposal
Notes: 2013 AECOM Preliminary Engineering Report put the total cost at $11.2M (23%) of latest estimate or $29,200 per parcel. Latest estimates over 4x as high.
2016 Update to PER put costs at $20.9M or $54,500 per parcel, still less than ½ of current estimates.

## Slide 6: What are we doing now?
Focus on collection
  Gravity
  Effluent Sewer (STEP)
  Advanced On-site
Additional monitoring wells

## Slide 7: Hybrid approach
7
8
Eight zones
Three technologies
Number of zones within each implementation phase will depend on grant funding
Use of individual advanced onsite systems in zone 6 is limited
Technology for Los Olivos School and the Inn at Mattei’s Tavern to be determined
Gravity Zones 1, 2
Effluent Zones 3, 4, 5
Advanced On-site
Zone 6

## Slide 8
Monitoring Wells
MW #1 2.6/10
MW #1 10/10
Future MW #3
Future MW #4
Future MW #5
Grant Application
  $121,445 3 new wells
  5 well tests

## Slide 9: What’s Next?
Technical evaluation and related cost
  Collection (120 day contract)
  Treatment (concurrent with collection, Solvang?)
Additional Public Workshops and Outreach
Final Project Description
Pursue Grants
Environmental
Hold Benefit Assessment Vote

## Slide 10: Questions and Discussion
Visit us at:
  www.losolivoscsd.com
Subscribe to our updates:
  www.losolivoscsd.com/subscribe
Contact us: LosOlivosCSD@gmail.com (805) 500-4098

## Slide 11: Los Olivos Community Services District Board
Tom Fayram, President (2024)
Nina Stormo* (2024)
Julie Kennedy (2026)
Lisa Palmer (2026)
Greg Parks (2026) *Appointed 9/2023